## 2023 Final
Glen Oaks Manor Sprinkler System Program - May 2024 V3-3 (7/3/2024 Update) | [25 empty] | Post Reclaimed Water Daytime Run Adjustment
Detailed Schedule | [25 empty] | Pump Adjusted to 5:00 am to 8:00 pm run times
2024-07-03 | [25 empty] | Pump Adjusted to 40 psi - 60 psi operating pressure
|  |  |  | Irrigation Days | [7 empty] | Individual Zone Run Times (Shown in Minutes)
Controller | Controller Villa | Covered Villas/Area | Total Zones | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Start Time | Valve 1 | Valve 2 | Valve 3 | Valve 4 | Valve 5 | Valve 6 | Valve 7 | Valve 8 | Valve 9 | Valve 10 | Valve 11 | Valve 12 | Total Run Time - Minutes | Total Run Time - Hours | Comment | End Time
A | 50 | 47 - 54 | 7 |  |  | Y |  |  | Y |  | 6:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 30; Individual Zone Run Times (Shown in Minutes) Valve 3: 30; Individual Zone Run Times (Shown in Minutes) Valve 4: 30; Individual Zone Run Times (Shown in Minutes) Valve 5: 60; Individual Zone Run Times (Shown in Minutes) Valve 6: 60; Individual Zone Run Times (Shown in Minutes) Valve 7: 60 | 330 | 5.5
[12 empty] | 6:00 | 7:00 | 7:30 | 8:00 | 8:30 | 9:30 | 10:30 | 11:30 | [7 empty] | 11:30
B | 59 | 55 - 66 | 8 |  |  | Y |  |  | Y |  | 11:00 | 60 | 30 | 30 | 60 | 60 | 30 | 60 | 60 |  |  |  |  | 390 | 6.5
[12 empty] | 11:00 | 12:00 | 12:30 | 13:00 | 14:00 | 15:00 | 15:30 | 16:30 | 17:30 | [6 empty] | 17:30
C | 69 | 67 - 77 | 7 | Y |  |  | Y |  |  |  | 6:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 30; Individual Zone Run Times (Shown in Minutes) Valve 3: 60; Individual Zone Run Times (Shown in Minutes) Valve 4: 30; Individual Zone Run Times (Shown in Minutes) Valve 5: 30; Individual Zone Run Times (Shown in Minutes) Valve 6: 60; Individual Zone Run Times (Shown in Minutes) Valve 7: 60 | 330 | 5.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 6:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 7:00; Individual Zone Run Times (Shown in Minutes) Valve 3: 7:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 8:30; Individual Zone Run Times (Shown in Minutes) Valve 5: 9:00; Individual Zone Run Times (Shown in Minutes) Valve 6: 9:30; Individual Zone Run Times (Shown in Minutes) Valve 7: 10:30 |  |  |  | 11:30
D | 82 | 78 - 90 | 5 | Y |  |  | Y |  |  |  | 11:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 60; Individual Zone Run Times (Shown in Minutes) Valve 3: 60; Individual Zone Run Times (Shown in Minutes) Valve 4: 30; Individual Zone Run Times (Shown in Minutes) Valve 5: 60 | 270 | 4.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 11:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 12:00; Individual Zone Run Times (Shown in Minutes) Valve 3: 13:00; Individual Zone Run Times (Shown in Minutes) Valve 4: 14:00; Individual Zone Run Times (Shown in Minutes) Valve 5: 14:30; Individual Zone Run Times (Shown in Minutes) Valve 6: 15:30 |  |  |  | 15:30
E | 95 | 91 - 100 | 4 |  |  | Y |  |  | Y |  | 6:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 30; Individual Zone Run Times (Shown in Minutes) Valve 3: 30; Individual Zone Run Times (Shown in Minutes) Valve 4: 60 | 180 | 3
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 6:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 7:00; Individual Zone Run Times (Shown in Minutes) Valve 3: 7:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 8:00; Individual Zone Run Times (Shown in Minutes) Valve 5: 9:00 |  |  |  | 9:00
F | 17 | 16 - 23 | 8 |  |  | Y |  |  | Y |  | 9:00 | 60 | 30 | 60 | 30 | 60 | 60 | 30 | 60 |  |  |  |  | 390 | 6.5
[12 empty] | 9:00 | 10:00 | 10:30 | 11:30 | 12:00 | 13:00 | 14:00 | 14:30 | 15:30 | [6 empty] | 15:30
G | 25 | 24 - 34 | 3 | Y |  |  | Y |  |  |  | 14:30 | Individual Zone Run Times (Shown in Minutes) Valve 1: 30; Individual Zone Run Times (Shown in Minutes) Valve 2: 60; Individual Zone Run Times (Shown in Minutes) Valve 3: 60 | 150 | 2.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 14:30; Individual Zone Run Times (Shown in Minutes) Valve 2: 15:00; Individual Zone Run Times (Shown in Minutes) Valve 3: 16:00; Individual Zone Run Times (Shown in Minutes) Valve 4: 17:00 |  |  |  | 17:00
H | 39 | 35 - 46 | 4 |  |  | Y |  |  | Y |  | 6:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 30; Individual Zone Run Times (Shown in Minutes) Valve 3: 60; Individual Zone Run Times (Shown in Minutes) Valve 4: 60 | 210 | 3.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 6:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 7:00; Individual Zone Run Times (Shown in Minutes) Valve 3: 7:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 8:30; Individual Zone Run Times (Shown in Minutes) Valve 5: 9:30 |  |  |  | 9:30
I | 3 | 1 - 7 | 4 |  |  | Y |  |  | Y |  | 7:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 30; Individual Zone Run Times (Shown in Minutes) Valve 3: 60; Individual Zone Run Times (Shown in Minutes) Valve 4: 60 | 210 | 3.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 7:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 8:00; Individual Zone Run Times (Shown in Minutes) Valve 3: 8:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 9:30; Individual Zone Run Times (Shown in Minutes) Valve 5: 10:30 |  |  |  | 10:30
J | 12 | 8 - 15 | 4 | Y |  |  | Y |  |  |  | 6:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 30; Individual Zone Run Times (Shown in Minutes) Valve 3: 60; Individual Zone Run Times (Shown in Minutes) Valve 4: 30 | 180 | 3
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 6:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 7:00; Individual Zone Run Times (Shown in Minutes) Valve 3: 7:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 8:30; Individual Zone Run Times (Shown in Minutes) Valve 5: 9:00 |  |  |  | 9:00
K | 197 | 190 - 197 | 3 | Y |  |  | Y |  |  |  | 9:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 30; Individual Zone Run Times (Shown in Minutes) Valve 2: 60; Individual Zone Run Times (Shown in Minutes) Valve 3: 60 | 150 | 2.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 9:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 9:30; Individual Zone Run Times (Shown in Minutes) Valve 3: 10:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 11:30 |  |  |  | 11:30
L | 189 | 182 - 189 | 3 | Y |  |  | y |  |  |  | 11:30 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 30; Individual Zone Run Times (Shown in Minutes) Valve 3: 60 | 150 | 2.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 11:30; Individual Zone Run Times (Shown in Minutes) Valve 2: 12:30; Individual Zone Run Times (Shown in Minutes) Valve 3: 13:00; Individual Zone Run Times (Shown in Minutes) Valve 4: 14:00 |  |  |  | 14:00
M | 181 | 174 - 181 | 5 |  |  | Y |  |  | Y |  | 10:30 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 30; Individual Zone Run Times (Shown in Minutes) Valve 3: 60; Individual Zone Run Times (Shown in Minutes) Valve 4: 30; Individual Zone Run Times (Shown in Minutes) Valve 5: 30 | 210 | 3.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 10:30; Individual Zone Run Times (Shown in Minutes) Valve 2: 11:30; Individual Zone Run Times (Shown in Minutes) Valve 3: 12:00; Individual Zone Run Times (Shown in Minutes) Valve 4: 13:00; Individual Zone Run Times (Shown in Minutes) Valve 5: 13:30; Individual Zone Run Times (Shown in Minutes) Valve 6: 14:00 |  |  |  | 14:00
N | 165 | 165 - 173 | 3 |  |  | Y |  |  | Y |  | 6:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 30; Individual Zone Run Times (Shown in Minutes) Valve 2: 60; Individual Zone Run Times (Shown in Minutes) Valve 3: 60 | 150 | 2.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 6:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 6:30; Individual Zone Run Times (Shown in Minutes) Valve 3: 7:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 8:30 |  |  |  | 8:30
O | 159 | 153 - 164 | 3 |  |  | Y |  |  | Y |  | 15:30 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 60; Individual Zone Run Times (Shown in Minutes) Valve 3: 30 | 150 | 2.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 15:30; Individual Zone Run Times (Shown in Minutes) Valve 2: 16:30; Individual Zone Run Times (Shown in Minutes) Valve 3: 17:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 18:00 |  |  |  | 18:00
P | 148 | 141 - 152 | 3 |  |  | Y |  |  | Y |  | 14:30 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 60; Individual Zone Run Times (Shown in Minutes) Valve 3: 30 | 150 | 2.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 14:30; Individual Zone Run Times (Shown in Minutes) Valve 2: 15:30; Individual Zone Run Times (Shown in Minutes) Valve 3: 16:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 17:00 |  |  |  | 17:00
Q | 132 | 128 - 140 | 7 |  |  | Y |  |  | Y |  | 9:30 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 30; Individual Zone Run Times (Shown in Minutes) Valve 3: 30; Individual Zone Run Times (Shown in Minutes) Valve 4: 60; Individual Zone Run Times (Shown in Minutes) Valve 5: 30; Individual Zone Run Times (Shown in Minutes) Valve 6: 30; Individual Zone Run Times (Shown in Minutes) Valve 7: 30 | 270 | 4.5
[12 empty] | 9:30 | 10:30 | 11:00 | 11:30 | 12:30 | 13:00 | 13:30 | 14:00 | [7 empty] | 14:00
R | 119 | 114 - 127 | 6 | Y |  |  | Y |  |  |  | 6:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 60; Individual Zone Run Times (Shown in Minutes) Valve 3: 60; Individual Zone Run Times (Shown in Minutes) Valve 4: 30; Individual Zone Run Times (Shown in Minutes) Valve 5: 30; Individual Zone Run Times (Shown in Minutes) Valve 6: 60 | 300 | 5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 6:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 7:00; Individual Zone Run Times (Shown in Minutes) Valve 3: 8:00; Individual Zone Run Times (Shown in Minutes) Valve 4: 9:00; Individual Zone Run Times (Shown in Minutes) Valve 5: 9:30; Individual Zone Run Times (Shown in Minutes) Valve 6: 10:00; Individual Zone Run Times (Shown in Minutes) Valve 7: 11:00 |  |  |  | 11:00
S | 106 | 101 - 113 | 3 | Y |  |  | Y |  |  |  | 11:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 30; Individual Zone Run Times (Shown in Minutes) Valve 2: 60; Individual Zone Run Times (Shown in Minutes) Valve 3: 60 | 150 | 2.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 11:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 11:30; Individual Zone Run Times (Shown in Minutes) Valve 3: 12:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 13:30 |  |  |  | 13:30
Common Area:
Z | 17TH | 17th Street & Prudence | 10 |  |  | Y |  |  | Y |  | 10:00 | 60 | 30 | 30 | 30 | 60 | 60 | 60 | 60 | 30 | 30 |  |  | 450 | 7.5
[12 empty] | 10:00 | 11:00 | 11:30 | 12:00 | 12:30 | 13:30 | 14:30 | 15:30 | 16:30 | 17:00 | 17:30 |  |  |  |  | 17:30
W | 12TH N | Beneva North | 3 | Y |  |  | Y |  |  |  | 8:30 | Individual Zone Run Times (Shown in Minutes) Valve 1: 30; Individual Zone Run Times (Shown in Minutes) Valve 2: 30; Individual Zone Run Times (Shown in Minutes) Valve 3: 30 | 90 | 1.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 8:30; Individual Zone Run Times (Shown in Minutes) Valve 2: 9:00; Individual Zone Run Times (Shown in Minutes) Valve 3: 9:30; Individual Zone Run Times (Shown in Minutes) Valve 4: 10:00 |  |  |  | 10:00
X | 12TH S | Beneva South | 6 |  |  | Y |  |  | Y |  | 12:00 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 60; Individual Zone Run Times (Shown in Minutes) Valve 3: 60; Individual Zone Run Times (Shown in Minutes) Valve 4: 30; Individual Zone Run Times (Shown in Minutes) Valve 5: 30; Individual Zone Run Times (Shown in Minutes) Valve 6: 30 | 270 | 4.5
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 12:00; Individual Zone Run Times (Shown in Minutes) Valve 2: 13:00; Individual Zone Run Times (Shown in Minutes) Valve 3: 14:00; Individual Zone Run Times (Shown in Minutes) Valve 4: 15:00; Individual Zone Run Times (Shown in Minutes) Valve 5: 15:30; Individual Zone Run Times (Shown in Minutes) Valve 6: 16:00; Individual Zone Run Times (Shown in Minutes) Valve 7: 16:30 |  |  |  | 16:30
Y | PUMP HOUSE | Pond Inner Loop | 2 |  |  | Y |  |  | Y |  | 6:30 | Individual Zone Run Times (Shown in Minutes) Valve 1: 60; Individual Zone Run Times (Shown in Minutes) Valve 2: 60 | 120 | 2
[12 empty] | Individual Zone Run Times (Shown in Minutes) Valve 1: 6:30; Individual Zone Run Times (Shown in Minutes) Valve 2: 7:30; Individual Zone Run Times (Shown in Minutes) Valve 3: 8:30 |  |  |  | 8:30
|  | Total Zones: | 111 | [8 empty] | Individual Zone Run Times (Shown in Minutes) Valve 12: Total Run Time: | 5250 | 87.5

## Summary Sheet
Glen Oaks Manor Sprinkler System Program - May 2024 V3-3 (7/3/2024 Update)
Summary of Schedule | [9 empty] | 2024-07-03
Controller | Covered Villas/Area | Start Time | End Time | Mon | Tue | Wed | Thu | Fri | Sat | Sun
A | 47 - 54 | 6:00 | 11:30 | 0 | 0 | Y | 0 | 0 | Y | 0
B | 55 - 66 | 11:00 | 17:30 | 0 | 0 | Y | 0 | 0 | Y | 0
C | 67 - 77 | 6:00 | 11:30 | Y | 0 | 0 | Y | 0 | 0 | 0
D | 78 - 90 | 11:00 | 15:30 | Y | 0 | 0 | Y | 0 | 0 | 0
E | 91 - 100 | 6:00 | 9:00 | 0 | 0 | Y | 0 | 0 | Y | 0
F | 16 - 23 | 9:00 | 15:30 | 0 | 0 | Y | 0 | 0 | Y | 0
G | 24 - 34 | 14:30 | 17:00 | Y | 0 | 0 | Y | 0 | 0 | 0
H | 35 - 46 | 6:00 | 9:30 | 0 | 0 | Y | 0 | 0 | Y | 0
I | 1 - 7 | 7:00 | 10:30 | 0 | 0 | Y | 0 | 0 | Y | 0
J | 8 - 15 | 6:00 | 9:00 | Y | 0 | 0 | Y | 0 | 0 | 0
K | 190 - 197 | 9:00 | 11:30 | Y | 0 | 0 | Y | 0 | 0 | 0
L | 182 - 189 | 11:30 | 14:00 | Y | 0 | 0 | y | 0 | 0 | 0
M | 174 - 181 | 10:30 | 14:00 | 0 | 0 | Y | 0 | 0 | Y | 0
N | 165 - 173 | 6:00 | 8:30 | 0 | 0 | Y | 0 | 0 | Y | 0
O | 153 - 164 | 15:30 | 18:00 | 0 | 0 | Y | 0 | 0 | Y | 0
P | 141 - 152 | 14:30 | 17:00 | 0 | 0 | Y | 0 | 0 | Y | 0
Q | 128 - 140 | 9:30 | 14:00 | 0 | 0 | Y | 0 | 0 | Y | 0
R | 114 - 127 | 6:00 | 11:00 | Y | 0 | 0 | Y | 0 | 0 | 0
S | 101 - 113 | 11:00 | 13:30 | Y | 0 | 0 | Y | 0 | 0 | 0
W | Beneva North | 8:30 | 10:00 | Y | 0 | 0 | Y | 0 | 0 | 0
X | Beneva South | 12:00 | 16:30 | 0 | 0 | Y | 0 | 0 | Y | 0
Y | Pond Inner Loop | 6:30 | 8:30 | 0 | 0 | Y | 0 | 0 | Y | 0
Z | 17th Street & Prudence | 10:00 | 17:30 | 0 | 0 | Y | 0 | 0 | Y | 0

## Load Balancing Worksheet
Load Leveling Worksheet | [24 empty] | 2024-07-03
Flow Values at any given time, not to exceed 230 GPM | [19 empty] | Zones around Outside of Pond Sidewalk
|  | MONDAY & THURSDAY RUNTIMES | [6 empty] | Group 1
To Load Level, Maintain all Data from a Row as a Set and Adjust for Start Time
|  | MONDAY |  |  | THURSDAY | [13 empty] | Ensure Total does not Exceed 230
| Controller | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00
| A | 47 | 47 | 14 | 16 | 17 | 26 | 26 | 13 | 13 | 16 | 16
| B | [10 empty] | 42 | 42 | 6 | 20 | 21 | 21 | 23 | 23 | 14 | 21 | 21 | 26 | 26
| E | 96 | 96 | 19 | 18 | 65 | 65
| F | [6 empty] | 73 | 73 | 20 | 26 | 26 | 24 | 57 | 57 | 24 | 24 | 23 | 28 | 28
| H | 31 | 31 | 24 | 18 | 18 | 94 | 94
| I |  |  | 52 | 52 | 26 | 17 | 17 | 36 | 36
| M | [9 empty] | 99 | 99 | 31 | 44 | 44 | 45 | 45
| N | 48 | 47 | 47 | 44 | 44
| O | [19 empty] | 52 | 52 | 96 | 96 | 61
| P | [17 empty] | 70 | 70 | 47 | 47 | 64
| Q | [7 empty] | 81 | 81 | 33 | 39 | 81 | 81 | 21 | 42 | 44
| Z | [8 empty] | 44 | 44 | 7 | 11 | N/A | 18 | 86 | 86 | 26 | 26 | 16 | 16 | 18 | 18 | 20
| Y |  | 59.8 | 59.8 | 67.6 | 67.6 | [17 empty] | 59.8 | 59.8 | 67.6 | 67.6
temporary water of Y on this grouping for sod planting to be established. Set to Run Every Day
| Total Gallons | 222 | 280.8 | 215.8 | 215.6 | 237.6 | 202 | 210 | 203 | 194 | 218 | 229 | 189 | 188 | 160 | 218 | 220 | 72 | 147 | 128 | 136 | 138 | 204 | 201.8 | 120.8 | 67.6 | 67.6 | 0
|  | TUESDAY & SATURDAY RUNTIMES | [6 empty] | Group 2
|  | WEDNESDAY | [7 empty] | SATURDAY
| Controller | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00
| C | 18 | 18 | 12 | 36 | 36 | 14 | 12 | 16 | 16 | 29 | 29
| D | [10 empty] | 33.8 | 33.8 | 72.8 | 72.8 | 67.6 | 67.6 | 23.4 | 72.8 | 72.8
| G | [17 empty] | 14.3 | 46.8 | 46.8 | 25 | 25
| J | 96.2 | 96.2 | 14.95 | 31.2 | 31.2 | 14.3
| K | [6 empty] | 63.7 | 57.2 | 57.2 | 59.8 | 59.8
| L | [11 empty] | 33.8 | 33.8 | 55.9 | 44.2 | 44.2
| R | 41.6 | 41.6 | 49.4 | 49.4 | 67.6 | 67.6 | 28.6 | 29.9 | 62.4 | 62.4
| S | [10 empty] | 89.7 | 54.6 | 54.6 | 49.4 | 49.4
| W | [5 empty] | 16.9 | 18.85 | 48.1
| X | [12 empty] | 18 | 18 | 18 | 18 | 21 | 21 | 13 | 2 | 6
| Y |  | 59.8 | 59.8 | 67.6 | 67.6 | [17 empty] | 59.8 | 59.8 | 67.6 | 67.6
temp second run for sod
| Total Gallons | 155.8 | 215.6 | 136.15 | 184.2 | 202.4 | 112.8 | 123.15 | 151.2 | 135.6 | 151.2 | 212.3 | 122.2 | 179.2 | 196.1 | 179.2 | 129.8 | 44.4 | 108.1 | 132.6 | 48.8 | 31 | 25 | 59.8 | 59.8 | 67.6 | 67.6 | 0

## Original Consultant Data
Origian Data Provided from Consultant | [22 empty] | 2024-07-03
Modifications have been made to the below data to load level and prevent walkways from being irrigated after 5:30 am and to Balance the System. See Worksheet Total Gallons for updated data set
GLEN OAKS MANOR IRRIGATION SCHEDULE A | [19 empty] | Sample Calculation for A, Zone 1
[22 empty] | Estimated Head # | 18
[9 empty] | MONDAY & THURSDAY RUNTIMES | [12 empty] | Multiplying Factor | 2.6
[22 empty] | Flow Rate Factor | 46.8
| MONDAY | [7 empty] | TUESDAY
| PM | [7 empty] | AM
TIME | 8000 | 8030 | 9000 | 9030 | 1000 | 1030 | 1100 | 1130 | 1200 | 1230 | 1000 | 1030 | 2000 | 2030 | 3000 | 3030 | 4000 | 4030 | 5000 | 5030 | 6000 | 6030 | 7000 | 7030 | 8000
| 1 | 1 | 2 | 3 | 4 | 5 | 6 | 6 | 7 | 7
A | 46.8 | 47 | 13.65 | 15.6 | 17 | 26 | 13 | 13 | 16 | 16
[11 empty] | 1 | 1 | 2 | 3 | 4 | 4 | 5 | 5 | 6 | 7 | 7 | 8 | 8
B | [10 empty] | 41.6 | 42 | 5.85 | 19.5 | 20.8 | 21 | 23.4 | 23 | 14.3 | 20.8 | 21 | 26 | 26
| 1 | 1 | 2 | 3 | 4 | 4
E | 96.2 | 96.2 | 18.85 | 18.2 | 65 | 65
[7 empty] | 1 | 1 | 2 | 3 | 3 | 4 | 5 | 5 | 6 | 7 | 8
F | [6 empty] | 72.8 | 72.8 | 0 | 26 | 26 | 24.05 | 57.2 | 57.2 | 24 | 22.75 | 27.95
| 1 | 1 | 2 | 3 | 4 | 4
H | 31.2 | 31.2 | 24 | 18 | 94 | 94
[6 empty] | 1 | 1: 1; 1: 2; 2: 3; 3: 4; 3: 4
I | [5 empty] | 52 | 1: 52; 1: 26; 2: 17; 3: 36.4; 3: 36
| 1 | 2 | 2 | 3 | 3
N | 48.1 | 46.8 | 46.8 | 44.2 | 44.2
[7 empty] | 6: 1; 7: 1; 8: 2 | 3 | 3 | 4
M | [6 empty] | 6: 98.8; 7: 98.8; 8: 30.55 | 44.2 | 44.2 | 45
[20 empty] | 1 | 1 | 2 | 2 | 3
O | [19 empty] | 52 | 52 | 96.2 | 96.2 | 61.1
[18 empty] | 1 | 1 | 2 | 2 | 3
P | [17 empty] | 70.2 | 70.2 | 46.8 | 46.8 | 63.7
[7 empty] | 1 | 1 | 2 | 3 | 4 | 4 | 5 | 6 | 7
Q | [6 empty] | 80.6 | 80.6 | 33.15 | 39 | 80.6 | 80.6 | 21.45 | 42.25 | 43.55
[7 empty] | 4: 1; 4: 1; 5: 2; 6: 3; 7: 4 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10
Z | [6 empty] | 4: 44.2; 4: 44.2; 5: 7; 6: 11.05; 7: N/A | 18.2 | 85.8 | 85.8 | 26 | 26 | 15.6 | 15.6 | 18.2 | 18.2 | 19.5
TOT GAL | 225.3 | 225.2 | 109.3 | 105 | 231.2 | 246 | 221.4 | 196.4 | 73.15 | 127.4 | 241.4 | 200.85 | 105.5 | 147 | 209.15 | 177.75 | 188.7 | 238.2 | 171.7 | 211.6 | 153.4 | 222.5 | 159.4 | 91.3 | 29.5
GLEN OAKS MANOR IRRIGATION SCHEDULE B
TUESDAY & SATURDAY RUNTIMES
| TUESDAY | [5 empty] | 2: WEDNESDAY
PM | bar: 2
TIME | 8000 | 8030 | 9000 | 9030 | 1000 | 1030 | 1100 | 1130 | 1200 | 1230 | 1000 | 1030 | 2000 | 2030 | 3000 | 3030 | 4000 | 4030 | 5000 | 5030 | 6000 | 6030 | 7000 | 7030 | 8000
| 1 | 1 | 2 | 3 | 3 | 4 | 1: 5; 1: 6; 2: 6; 3: 7; 4: 7
C | 18.2 | 18.2 | 12.35 | 36.4 | 36.4 | 14.3 | 1: 11.7; 1: 16.25; 2: 16; 3: 29; 4: 29
[7 empty] | 4: 1; 4: 1; 5: 2; 6: 2; 7: 3 | 3 | 4 | 5 | 5
D | [6 empty] | 4: 33.8; 4: 33.8; 5: 72.8; 6: 72.8; 7: 67.6 | 67.6 | 23.4 | 72.8 | 72.8
[18 empty] | 1 | 2 | 2 | 3
G | [17 empty] | 14.3 | 46.8 | 46.8 | N/A
| 1 | 1 | 2 | 3 | 3 | 4
J | 96.2 | 96.2 | 14.95 | 31.2 | 31.2 | 14.3
[7 empty] | 1 | 2 | 2 | 3 | 3 | 4
K | [6 empty] | 63.7 | 57.2 | 57.2 | 59.8 | 59.8 | N/A
[7 empty] | 4: 1; 5: 1; 6: 2; 7: 3 | 3
L | [6 empty] | 4: 33.8; 5: 33.8; 6: 55.9; 7: 44.2 | 44.2
| 1 | 1 | 2 | 2 | 3 | 3 | 1: 4; 1: 5; 2: 6; 3: 6
R | 41.6 | 41.6 | 49.4 | 49.4 | 67.6 | 67.6 | 1: 28.6; 1: 29.9; 2: 62.4; 3: 62.4
[10 empty] | 1 | 2 | 2 | 3 | 3
S | [6 empty] | 3: 89.7; 4: 54.6; 4: 54.6; 5: 49.4; 6: 49.4
[17 empty] | 1 | 2 | 3
W | [16 empty] | 16.9 | 18.85 | 48.1
[16 empty] | 1 | 2 | 2 | 3 | 3 | 4 | 5 | 6 | bar: 7
X | [6 empty] | 7: 18.2 | 18.2 | 18 | 18 | 20.8 | 20.8 | 13 | 1.95 | 6
[20 empty] | 1 | 1 | 2 | 2
Y | [19 empty] | 59.8 | 59.8 | 67.6 | 67.6
TOT GAL | 159 | 159 | 82.7 | 125 | 144.2 | 107.2 | 114 | 116.35 | 149.6 | 257.9 | 190.2 | 130.2 | 162 | 185.1 | 137 | 137 | 65.3 | 133.95 | 201.5 | 133.4 | 80.8 | 76.55 | 81.6 | 0 | 0
Total Count of Heads with Assigned Flow Rates by type of Heads
| R | 2.6 |  | Multiplying Factor for Rotary Heads/Lawn Spray Heads
| S | 0.65 |  | Multiplying Factor for Shrub Spray and Micro Spray Heads
|  | Group | Controller | Zones | [14 empty] | Total Number of Heads
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
| Estimated Head # | 1 | A | 18 | 21 | 24 | 25 | 40 | 5 | 6 | [8 empty] | 139
| Multiplying Factor |  |  | 2.6 | 0.65 | 0.65 | 0.65 | 0.65 | 2.6 | 2.6
|  | 1 | B | 16 | 9 | 30 | 8 | 9 | 22 | 8 | 10 | [7 empty] | 112
|  |  |  | 2.6 | 0.65 | 0.65 | 2.6 | 2.6 | 0.65 | 2.6 | 2.6
|  | 2 | C | 7 | 7 | 19 | 14 | 14 | 22 | 18 | 25 | 11 | [6 empty] | 137
|  |  |  | 2.6 | 2.6 | 0.65 | 2.6 | 2.6 | 0.65 | 0.65 | 0.65 | 0.65
|  | 2 | D | 13 | 13 | 28 | 28 | 26 | 26 | 36 | 28 | 28 | [6 empty] | 226
|  |  |  | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 0.65 | 2.6 | 2.6
|  | 1 | E | 37 | 37 | 29 | 28 | 25 | 25 | [9 empty] | 181
|  |  |  | 2.6 | 2.6 | 0.65 | 0.65 | 2.6 | 2.6
|  | 1 | F | 28 | 28 | 0 | 10 | 10 | 37 | 22 | 22 | 36 | 35 | 43 |  |  |  |  | 271
|  |  |  | 2.6 | 2.6 | 0.65 | 2.6 | 2.6 | 0.65 | 2.6 | 2.6 | 0.65 | 0.65 | 0.65
|  | 2 | G | Zones 1: 22; Zones 2: 18; Zones 3: 18 | [8 empty] | 58
|  |  |  | 0.65 | 2.6 | 2.6
|  | 1 | H | 12 | 12 | 28 | 36 | 36 | [10 empty] | 124
|  |  |  | 2.6 | 2.6 | 0.65 | 2.6 | 2.6
|  | 1 | I | 20 | 20 | 26 | 14 | 14 | [10 empty] | 94
|  |  |  | 2.6 | 2.6 | 0.65 | 2.6 | 2.6
|  | 2 | J | 37 | 37 | 23 | 12 | 12 | 22 | [9 empty] | 143
|  |  |  | 2.6 | 2.6 | 0.65 | 2.6 | 2.6 | 0.65
|  | 2 | K | 98 | 22 | 22 | 23 | 23 | [10 empty] | 188
|  |  |  | 0.65 | 2.6 | 2.6 | 2.6 | 2.6
|  | 2 | L | 13 | 13 | 86 | 17 | 17 | [10 empty] | 146
|  |  |  | 2.6 | 2.6 | 0.65 | 2.6 | 2.6
|  | 1 | M | 38 | 38 | 47 | 17 | 17 | 68 | [9 empty] | 225
|  |  |  | 2.6 | 2.6 | 0.65 | 2.6 | 2.6 | 0.65
|  | 1 | N | 74 | 18 | 18 | 17 | 17 | [10 empty] | 144
|  |  |  | 0.65 | 2.6 | 2.6 | 2.6 | 2.6
|  | 1 | O | 20 | 20 | 37 | 37 | 94 | [10 empty] | 208
|  |  |  | 2.6 | 2.6 | 2.6 | 2.6 | 0.65
|  | 1 | P | 27 | 27 | 18 | 18 | 98 | [10 empty] | 188
|  |  |  | 2.6 | 2.6 | 2.6 | 2.6 | 0.65
|  | 1 | Q | 31 | 31 | 51 | 60 | 31 | 31 | 33 | 65 | 67 | [6 empty] | 400
|  |  |  | 2.6 | 2.6 | 0.65 | 0.65 | 2.6 | 2.6 | 0.65 | 0.65 | 0.65
|  | 2 | R | 16 | 16 | 19 | 19 | 26 | 26 | 44 | 46 | 24 | 24 | [5 empty] | 260
|  |  |  | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 0.65 | 0.65 | 2.6 | 2.6
|  | 2 | S | 138 | 21 | 21 | 19 | 19 | [10 empty] | 218
|  |  |  | 0.65 | 2.6 | 2.6 | 2.6 | 2.6
|  | 2 | W | Zones 1: 26; Zones 2: 29; Zones 3: 74 | [8 empty] | 129
|  |  |  | 0.65 | 0.65 | 0.65
|  | 2 | X | 7 | 7 | 8 | 8 | 20 | 3 | 8 | [8 empty] | 61
|  |  |  | 2.6 | 2.6 | 2.6 | 2.6 | 0.65 | 0.65 | 0.65
|  |  | Y | Zones 1: 23; Zones 2: 23; Zones 3: 26; Zones 4: 26 | [8 empty] | 98
|  |  |  | 2.6 | 2.6 | 2.6 | 2.6
|  | 1 | Z | 17 | 17 | 10 | 17 | 28 | 33 | 33 | 10 | 10 | 6 | 6 | 7 | 7 | 30 |  | 231
|  |  |  | 2.6 | 2.6 | 0.65 | 0.65 | 0.65 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 2.6 | 0.65

## Sample Calculations
Sample Data Calculations
Below is a representative sample set of how data was calculated. Rotary and Micro Heads are factored differently
| Controller | Zones
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Estimated Head # | A | 18 | 21 | 24 | 25 | 40 | 5 | 6
Multiplying Factor |  | 2.6 | 0.65 | 0.65 | 0.65 | 0.65 | 2.6 | 2.6
Flow Rate Factor |  | 46.8 | 13.65 | 15.6 | 16.25 | 26 | 13 | 15.6
Run Time |  | 60 | 30 | 30 | 30 | 60 | 60 | 60
Estimated Head # | B | 16 | 9 | 30 | 8 | 9 | 22 | 8 | 10
Multiplying Factor |  | 2.6 | 0.65 | 0.65 | 2.6 | 2.6 | 0.65 | 2.6 | 2.6
Flow Rate Factor |  | 41.6 | 5.85 | 19.5 | 20.8 | 23.4 | 14.3 | 20.8 | 26
Run Time |  | 60 | 30 | 30 | 60 | 60 | 30 | 60 | 60
Estimated Head # | C | 7 | 19 | 14 | 22 | 18 | 25 | 11
Multiplying Factor |  | 2.6 | 0.65 | 2.6 | 0.65 | 0.65 | 0.65 | 0.65
Flow Rate Factor |  | 18.2 | 12.35 | 36.4 | 14.3 | 11.7 | 16.25 | 7.15
Run Time |  | 60 | 30 | 60 | 30 | 30 | 60 | 60